CITY OF COCONUT CREEK

DEVELOPMENT REVIEW COMMITTEE

Review coMMENTS #1

september 2, 2010

- Project Name:		Technological University of America

Project Location:		3700 Coconut Creek Parkway, Coconut Creek, FL

Review/Application:		Administrative Approval – Sign Review

Control/Permit No:		PZ-10080002

PLANNING & ZONING:

General and Advisory Comments

- Be advised, review and approval of address numerals on the building does not represent an approval for replacement by other façade signage.  Any future signage may require a new sign review application.

- Address numerals shall maintain a minimum six-inch clearance top and bottom.

LANDSCAPE ARCHITECTURE:

Condition of Approval

1.	Any changes to the approved landscape plan as a result of this application must be approved by the City prior to the installation of the proposed monument sign.

ENGINEERING:

Condition of Approval

1.	Confirm with the City of Margate that no conflicts exist between their utilities/easements and proposed sign and sign footings.  Provide written verification at time of building permit review.

Be advised, additional comments may be provided and/or required upon review of any revised plans.