CITY OF COCONUT CREEK

DEVELOPMENT REVIEW COMMITTEE

Review coMMENTS #3

july 26, 2010

- Project Name:		Infiniti of Coconut Creek

Project Location:		5453 W. Sample Road, Coconut Creek, FL 33073

Review/Application:		Administrative Approval

Control/Permit No:		PZ-10030003

ENGINEERING:

Conditions of Approval

1.	City utilities (water and sewer) exist within the proposed work area.  Per City Code Section 13-266, easements shall not contain permanent improvements including but not limited to trees, shrubs, hedges, plants, and landscaping.  All necessary adjustments will be made at Final Engineering.

2.	Please note that comments are preliminary and are subject to further review at Final Engineering.

FIRE:

Conditions of Approval

1.   The “man gate” shall be installed within 90 days from this approval.

2. 	When Infiniti submits plans for new construction, a new hydrant will be required at the northwest corner of the building.