CITY OF COCONUT CREEK

DEVELOPMENT REVIEW COMMITTEE

Review coMMENTS #2 – Conditions of approval

December 15, 2011

- Project Name:		Seminole CCK - Master Uniform Sign

Project Location:		5500 NW 40 St, Coconut Creek, FL

Review/Application:		Administrative Approval – Sign Review

Control/Permit No:		PZ-11110003

ENGINEERING:

Conditions of Approval:

- Monument signs and their appurtenances not to be located within Utility Easements (UE) during or after construction. Where monument signs are found to encroach the utility easement these shall be removed and relocated by the Tribe immediately at their own costs.

- Provide BCEPGMD approval for all signs still shown within 20 feet Lake Maintenance easements (LME). This approval must be provided to the engineering division prior to any related building permit review or approval. Failure to provide this approval will result in non-approval of related building permits.

- At building permit, clearly show and identify all existing/proposed utility easements (water & sewer), Lake Maintenance Easements and provide horizontal separation between signs and their appurtenances and same easements. Note: The applicant’s response did not provide the separations requested and therefore was not satisfactory to the City.

- Note: Failure to show the UE and LME on plans and clearly showing the horizontal separation between signs and easement for building permits will result in said permits remaining in hold status.