CITY OF COCONUT CREEK

DEVELOPMENT REVIEW COMMITTEE

Review coMMENTS #3

CONDITIONS OF APPROVAL

june 28, 2010

- Project Name:		Tradewinds Park

Project Location:		3600 W. Sample Road, Coconut Creek, FL 33073

Review/Application:		Administrative Approval

Control/Permit No:		PZ-10040002

ENGINEERING:

Conditions of Approval

- Provide for 12 feet utility easement covering all public water facility including portion of water line to be relocated. Comment need to be addressed prior to final engineering plans approval.

- Provide for minimum 12 feet utility easement covering all public wastewater facility including new sanitary gravity sewer system. Comments need to be addressed prior to final engineering plans approval.

- All water and wastewater impact fees shall conform to current City of Coconut Creek ERU rates which are adjusted quarterly. All Equivalent Residential Units shall be based on the Broward County Factor Schedule. In some instances usage study of similar existing may be required as determined by the City of Coconut Creek Engineering Division. Water and wastewater agreement to be executed and all impact fees to be paid prior to approval of Building and Engineering permits.

- Provide and maintain an effective root barrier for all trees/tree roots within 20 feet of all proposed water and waste water lines. Note to be included on landscape and Final engineering plans.