City of Coconut Creek

Development review committee (DRC) REVIEW #3

8-20-14

| PROJECT NAME: |  | Mercedes Benz |  |  |
| --- | --- | --- | --- | --- |
| PROJECT NUMBER: |  | PZ-14020007 |  |  |
| LOCATION: |  | 4250 N State Rd 7 |  |  |
| APPLICANT/AGENT: |  | Dennis Mele |  |  |
| REVIEW/APPLICATION |  | Site PMDD |  |  |
| ### discipline | ### REVIEWEr |  | ### EMAIL | ### Telephone |
| DRC Chair | Heidi Solano - Planner II |  | hsolano@coconutcreek.net | (954) 973-6739 |
| Building | Sean Flanagan - Chief Structural Inspector |  | sflanagan@coconutcreek.net | (954) 973-6750 |
| Engineering | Albert Demarcado - Engineer II |  | ademercado@coconutcreek.net | (954) 973-6786 |
| Engineering | Eileen Cabrera - Engineer I |  | ecabrera@coconutcreek.net | (954) 545-6655 |
| Engineering | Yugal Lall – Senior Engineer |  | YLall@coconutcreek.net | (954) 973-6786 |
| Fire | Rodney Zancanata - Deputy Fire Marshall |  | rzancanata@coconutcreek.net | (954) 973-1563 |
| Green Review | Jim Hetzel - Sustainable City Coordinator |  | jhetzel@coconutcreek.net | (954) 973-6756 |
| Landscape | Scott Peavler - Landscape (consultant) |  | speavler@coconutcreek.net | (954) 973-6756 |
| Planning | Jim Hetzel - Sustainable City Coordinator |  | jhetzel@coconutcreek.net | (954) 973-6756 |
| Police | Henry Cabrera - Police Department |  | hcabrera@coconutcreek.net | (954) 956-6721 |

## DEPARTMENTAL COMMENTS

ENGINEERING

PASSED

1.	Show clear sight triangles at Cullum Road on landscape plans.

2.	Remove prop. 12’ easement from prop. sewer line since the City does not maintain Mercedes Benz’s sewer system.

3.	Trees shall not be located in utility easements. All trees to be a minimum of 7 feet away from all proposed/existing City utilities.

GREEN

Approved

LANDSCAPE ARCHITECTURE

Passed with Conditions

The 12 Trees stated as additional can be used towards tree canopy removal mitigation.  Totals 3,600 SF if all Cat. 1 trees @ 300 SF. Will help in reducing square footage remaining to be mitigated for.

PLANNING AND ZONING

Passed with Conditions

- Receipt of final site plan submittal within 7 days of City Commission approval.

- City Commission approval, providing for an 18 month site plan expiration date.

- Receipt of dated photographs, depicting 4’x4’ sign, prepared in accordance with code requirements, posted on the property 14 days prior to the public hearing.

- Completion of recorded access easement for sidewalks, plazas etc, prior to building permit issuance.

- Recordation of plat note amendment to increase commercial square footage prior to building permit issuance.

- Reimbursement to City for professional landscape review services of this application, pursuant to Section 13-80(b) of the City’s Land Development Code.

- Pending payment of Affordable Housing Linkage Fee prior to issuance of building permit.  Estimated fee of $35,927.12 is based on a gross floor area of 26,417 square feet.

- Pending payment of Police and Fire Impact Fee prior to building permit issuance.  Estimated fee of $12,785.82 for Police and fee of $7,740.18 for Fire is based on a gross floor area of 26,417 square feet.

- Pending final proposal and acceptance of Public Art.